## Slide 1
IoT Based Health Monitoring And
Anomaly Detection
NodeMCU ESP32 • GSM Alerts • Cloud Logging • Streamlit Dashboard
A simple real-time system for monitoring vital signs and detecting unusual readings using an unsupervised ML model.
Project
Overview
Project Summary
This project captures health readings continuously, sends alerts through GSM every 30 seconds, stores data in a cloud IoT panel, and uses machine learning to flag abnormal patterns in real time.
Sensors
HB + SpO2, body temperature, ambient temperature, humidity
Controller
NodeMCU ESP32 processes and transmits readings
Alerts
GSM module, buzzer, and LCD for immediate feedback
Machine Learning
Downloaded CSV data is cleaned, scaled, and passed to an unsupervised Isolation Forest model. The dashboard then labels each reading as Normal or Abnormal.
Final Output
Live dashboard for monitoring, anomaly detection, and analysis

## Slide 2
Problem Statement and Objective
Why this project is useful and what it tries to solve
Problem
Health readings should be watched continuously, but manual monitoring is slow and cannot easily detect unusual patterns. In many cases, an early warning is more useful than waiting for a serious issue.
Objective
Build a low-cost IoT system that measures vital signs, sends periodic SMS updates, stores the data in the cloud, and helps detect abnormal readings using machine learning.
What makes it different
The system is not just logging values. It also analyses the sensor pattern using an unsupervised anomaly detection model, so it can highlight readings that look unusual compared to normal data.
Main focus: continuous monitoring + alerting + anomaly detection

## Slide 3
Hardware Components
Each part of the system has a simple role
NodeMCU ESP32
Main controller that reads sensors and manages communication.
HB + SpO2 Sensor
Measures heart rate and blood oxygen continuously.
Body Temperature Sensor
Tracks the user’s body temperature.
Ambient Temp Sensor
Measures surrounding temperature.
Humidity Sensor
Monitors air moisture level.
GSM Module
Sends periodic SMS alerts and readings.
Buzzer
Gives local alarm when readings are abnormal.
LCD Display
Shows the latest sensor values on the device.

## Slide 4
System Workflow
How data moves from sensors to the dashboard
Sensors
HB, SpO2, body temp, ambient temp, humidity
ESP32
Reads values and prepares the packet
GSM SMS
Sends updates every 30 seconds
Cloud IoT Panel
Stores data online
Data Analysis
CSV download, cleaning, scaling, and ML
Streamlit Dashboard
Shows live status and alerts
Two response layers
Local response: buzzer + LCD. Remote response: SMS + cloud storage + dashboard monitoring.
Why this flow works
The device handles immediate monitoring, while the cloud and ML parts help with later analysis and anomaly detection.

## Slide 5
Machine Learning Pipeline
The model is unsupervised and focuses on finding unusual sensor patterns
1. Collect Data
Sensor readings are stored in the IoT platform and downloaded as CSV for analysis.
2. Clean Data
Zero values are treated as invalid, converted to missing values, and filled using the median.
3. Scale Data
StandardScaler is used so all sensor features are compared on a similar scale.
4. Train Model
Isolation Forest learns the normal pattern of readings.
5. Predict Status
The dashboard converts the model output into a clear label.
Features used: BPM, SPO2, Body_Temp, Ambient_Temp, Humidity

## Slide 6
Streamlit Dashboard
What the user sees after the CSV is processed
Live monitoring view
The dashboard reads the latest values from the CSV file and shows the current BPM, SPO2, temperature, and humidity readings in a readable format.
Status display
Each record is marked as Normal or Abnormal based on the Isolation Forest prediction. This makes the result easy to understand.
Useful for review
Doctors or users can quickly look at trends, export data, and compare readings over time instead of checking raw sensor logs manually.
Flow inside the app: CSV → clean data → scale → predict → show result

## Slide 7
Key Advantages
Why this prototype is practical and scalable
Real-time monitoring
Sensor data is captured continuously instead of being checked only once in a while.
Early warning
Local buzzer and GSM alerts help users react quickly to abnormal readings.
Low-cost design
Uses common IoT parts, making the system suitable for a student project or prototype.
Cloud ready
Data can be stored and analyzed later from the IoT platform.
Simple conclusion from the model
The model does not diagnose disease directly. It checks whether the current readings look unusual compared to the pattern learned from past data. That makes it a good fit for anomaly detection in health monitoring.
Best use case
Continuous observation, trend tracking, and quick detection of potentially risky readings.

## Slide 8
Conclusion and Future Scope
Final message for your presentation
Conclusion
This project combines IoT hardware, cloud storage, and unsupervised machine learning to create a useful health monitoring system. It is practical, easy to explain, and gives both immediate alerts and long-term analysis.
Future improvements
Add more sensors, create automatic alert thresholds, improve the dashboard visuals, and test with more real-world data for better accuracy.
Possible extensions
Mobile app integration, ECG support, emergency contact alerts, and a smarter anomaly scoring system can make the project stronger.
Thank you